LabTech I Exam 2020

- Gaugitz:

  - Difference between linear, circular and elliptical polarized light + application

  - Jablonsky Scheme

  - Explain Transducer processes (homogeneous and heterogeneous Phase)

  - Micro dialysis - Adds and Odds

  - Characteristics of POCT

  - Requirements of a sensor

- Weimar:

  - Image of points outside the middle but close together. Which answers are correct?

    - Low bias

    - high bias

    - wrong range (?)

    - low precision

    - high precision

  - Which tests do you need to do if you want to compare two means of different sample tests

    - First F-test to compare the variances and then paired t-test

  - What is displayed in a dendrogram?

    - Relative distance between objects/clusters (?)

- XNAs lecture:

  - What is an aptamer?

    - Short dsDNA

    - short ssDNA

    - long dsDNA

    - long ssDNA

    - …

  - What is involved in production of synthetic mRNA?

    - ligase

    - T7 RNA polymerase

    - …

- Flow cytometry

  - how are the cells kept single in the stream? Hydrodynamic focusing

  - advantages of spectral Flow cytometry? Analysis the whole spectrum, can subtract autofluorescence and multiple dyes can be used (?)

- Metabolomics:

  - Which answer is correct?

    - Compared to the genome and proteome with ~1000 different species the metabolome has the highest variety of molecules (100.000) (WRONG)

    - Metabolites can only derive from cells and food (WRONG)

    - Metabolites are small molecules with < 1000 Da

    - HIV and … are common metabolic diseases (WRONG)

- Mass spectrometry:

  - Which statement describes Electrospray ionization (ESI) the best?

    - Electrons are shoot at the analyte, …

    - Analyte solution is pushed through a nozzle, drop is pulled out and solvent evaporates

    - …

  - Something about mass analyzers… which statement is correct(?):

    - In TOF heavy ions reach the detector first

    - Orbitrab: axial oscillations, along center electrode are detected

    - …

  - which statement is correct?

    - For a protein with 25000 Da which has 25 charges you need a resolution of 25000Da to see the isotopic peaks

    - …

    - Don’t know what was the correct answer

  - Image of a mass spectrum with different peaks with a distance of 0.2 similar to this image: peaks were around 600 Da. which statement is correct?

    - The molecule has 4 charges

    - The average mass is xxx

    - The monoisotopic mass is xxx

    - The molecule has a mass of > 2500 Da

- Western blot:

  - Which statement about blotting is correct?

    - Blotting cannot be achieved only by diffusion

    - Large proteins are transferred to the membrane the fastest

    - Small proteins are transferred to the membrane the slowest

    - Membrane has a lot of binding sites and therefore needs to be blocked before staining

- Immunoassays:

  - Antibodies…

    - bind to denaturized proteins

    - bind to the linear paratope of a protein

    - bind to a protein in its natural conformation

    - …

  - Which components are required for a sandwich immune assay

    - capture antibody, analyte, detection antibody

  - competitive assays (don’t remember…)

    - high analyte concentration -> low signal

- Bioanalytics: separation and diagnosis (was NOT multiple choice, but text etc.!)

  - In NPLC a polar analyte… (don’t really remember)

    - Is eluted fast

    - Is eluted late

    - …

  - The retention factor is…

    - …

    - time spend in stationary phase divided by time spend in mobile phase

    - time spend in mobile phase divided by time spend in stationary phase

  - mark the correct of the two options in each sentence:

    - ion exchange has a high/low retention for ions of higher charge (something like that)

    - …

  - Image of setup for electrophoresis with capillary isoelectric focusing (CIF):

    - Label the anode/cathode and + and –

    - Which molecules can be analyzed in CIF?

    - Name the underlying principle for the sharp bands  self-sharpening?