## Slide 1
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
Gradient
w2
x2
w1
x1
Magnetic Resonance Imaging

## Slide 2
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
Spatial encoding: the Fourier Transform
Magnetic Resonance Imaging

## Slide 3
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
RF excitation
z gradient
x gradient
Gradient
w2
x2
w1
x1
MR signal
FT
Magnetic Resonance Imaging

## Slide 4
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
x gradient
y gradient
Back projection
Magnetic Resonance Imaging

## Slide 5
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
x gradient
y gradient
Back projection
Magnetic Resonance Imaging

## Slide 6
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
x gradient
y gradient
Back projection
Magnetic Resonance Imaging

## Slide 7
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
x gradient
y gradient
Back projection
Magnetic Resonance Imaging

## Slide 8
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
x gradient
y gradient
Back projection
Magnetic Resonance Imaging

## Slide 9
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
x gradient
y gradient
Back projection
Magnetic Resonance Imaging

## Slide 10
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
x gradient
y gradient
Back projection
Magnetic Resonance Imaging

## Slide 11
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
x gradient
y gradient
Back projection
Magnetic Resonance Imaging

## Slide 12
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
Back projection: imaging sequence
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Repeat n times along different angles
Magnetic Resonance Imaging

## Slide 13
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Spatially resolved reception
Back projection: imaging sequence
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
sinogram
FT
recon
Magnetic Resonance Imaging

## Slide 14
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space
For a point source (drop of water):
harmonic oscillation:
(continous linear phase change)
Frequency is a function of time:
Total signal:
Magnetic Resonance Imaging

## Slide 15
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space
Total signal:
Inversion of the signal equation:
Magnetic Resonance Imaging

## Slide 16
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space
2DFT
k-space
image
Magnetic Resonance Imaging

## Slide 17
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Properties of k-space
kx
ky
Magnetic Resonance Imaging

## Slide 18
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Properties of k-space
8 x 8
512 x 512
Magnetic Resonance Imaging

## Slide 19
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Properties of k-space
16 x 16
512 x 512
Magnetic Resonance Imaging

## Slide 20
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Properties of k-space
32 x 32
512 x 512
Magnetic Resonance Imaging

## Slide 21
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Properties of k-space
64 x 64
512 x 512
Magnetic Resonance Imaging

## Slide 22
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Properties of k-space
128 x 128
512 x 512
Magnetic Resonance Imaging

## Slide 23
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Properties of k-space
256 x 256
512 x 512
Magnetic Resonance Imaging

## Slide 24
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Properties of k-space
512 x 32
512 x 512
Magnetic Resonance Imaging

## Slide 25
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Properties of k-space
kx
ky
FOV in y-direction
FOV in x-direction
resolution in y-direction
resolution in x-direction
Magnetic Resonance Imaging

## Slide 26
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 27
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 28
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 29
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 30
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 31
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 32
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 33
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 34
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 35
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence (EPI)
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 36
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: gradient echo (GE) sequence (spiral EPI)
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
Magnetic Resonance Imaging

## Slide 37
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: spin echo (SE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
90°
Magnetic Resonance Imaging

## Slide 38
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: spin echo (SE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
90°
180°
Magnetic Resonance Imaging

## Slide 39
Biomedical Magnetic Resonance: 5 Magnetic Resonance Imaging
Imaging in k-space: spin echo (SE) sequence
k-space
RF excitation
z gradient
x gradient
y gradient
Signal acquisition
90°
180°
Magnetic Resonance Imaging