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Ultrasound
1) ?
2) High frequency ultrasound has
a. A high resolution and low penetration depth
3) What happens if you make a Doppler Ultrasound in 90° to a vessel?
a. No Doppler (because cos(90°) = 0)
Laparoscopy
1) Which statement describes the veres needle the best?
a. ?
2) Intra-abdominal pressure
a. 10-13 mmHg
3) Where should you place the laparoscopic camera?
a.  
Respirators
1) Respiration volume per minute
a. 4.2-5.6 L/min
2) What can also be added in the gas mixture during ventilation?
a. Narcotic gas
Pacemaker

Endoscopy

Pulmonary function testing

Neurophysiology/ MEG, EEG

POC

Clinical Laboratory 
