BMT I Exam 2020

Ultrasound

- ?

- High frequency ultrasound has

  - A high resolution and low penetration depth

- What happens if you make a Doppler Ultrasound in 90° to a vessel?

  - No Doppler (because cos(90°) = 0)

Laparoscopy

- Which statement describes the veres needle the best?

  - ?

- Intra-abdominal pressure

  - 10-13 mmHg

- Where should you place the laparoscopic camera?

Respirators

- Respiration volume per minute

  - 4.2-5.6 L/min

- What can also be added in the gas mixture during ventilation?

  - Narcotic gas

Pacemaker

Endoscopy

Pulmonary function testing

Neurophysiology/ MEG, EEG

POC

Clinical Laboratory