# Laboratory Techniques Exam WS21/22

25 questions, some simple choice (SC), some multiple choice (MC) and some free text (FT). 
60 minutes time.

There were no questions for the Western Blot and Good Scientific Practice lectures.

4 points for each question

Weimar - Statistic, Data Analysis

Question 1: Select the steps of a statistical test (MC)

- Write the null hypothesis

- Sort the data by ascending numbers

- Calculate the test by using the particular equation

- Compare the calculated value with the tabulated value

- Draw a distribution function

Solution: a, c, d

Question 2: What is the Kolmogorov-Smirnov Test used for? (SC)

- A method to estimate the true value

- Validity check for PCA

- To measure a statistical error, while comparing the mean value with the expected variance

- Test if a sample follows a reference probability distribution (e.g. normal distribution)

- Combination of multiple t-tests to estimate the significance level of 2 sample distributions

Solution: d

Question 3: Which statistical test is suitable to compare the means of two independently performed measurements and what are the requirements? (SC)

- The paired t-test. Requirement: F-test in advance, populations from which the samples are taken are normal distributed

- The paired t-test. Requirement: the populations from which the samples are taken are t-distributed

- The F-test. Requirement: the populations from which the samples are taken are normal distributed

- The t-test. Requirement: the Kolmogorov-Smirnov test in advance

- ANOVA. Requirement: Poisson Distribution

Solution: a

Question 4: A dendrogram represents (SC)

- The scores of objects calculated by CA

- The distances between objects calculated by CA

- The scores of objects calculated by PCA

- The scores of objects calculated by PCR

- The distances between objects calculated by PCA

Solution: b

Question 5: Specify the accuracy of the measurements depicted. Decide whether the trueness and precision is high or low (SC)

- Trueness & Precision low/ Trueness high, Precision low

- Trueness high, Precision low/ Trueness & Precision low

- Trueness high, Precision low/ Trueness & Precision high

- Trueness high, Precision low/ Trueness high, Precision low

- Trueness & Precision high/ Trueness high, Precision low

Solution: c

Question 6: Which model-based data analysis method is suitable for the quantitative analysis of a sensor array (MC)

- back propagation neural networks BPN

- self-organizing maps SOM

- principle component analysis PCA

- principle component regression PCR

- partial least-squares regression PLS

Solution: d, e

Huhn - Bioanalytics

Question 1: The figure shows a capillary with three analytes separated by capillary isoelectric focusing. Which answers are correct? (MC)

- The anolyte is at the left side

- Analyte 3 has the lowest pI value

- Phosphate buffer is present at the cathode during focusing

- The highest pH is present around Analyte 1

Solution: b, d

Question 2: Which answers are correct for DNA sequencing? (MC)

- Four different colorants are added attached to all nucleotides

- DNA strands are separated according to differences in their electrophoretic mobility

- DNA primers are added after DNA splicing

- Separation becomes more difficult for long DNA strands

Solution: b, c

Pötz - Immunoassays

Question 1: Which statement about SARS-COV-2 antibody tests are correct? (MC)

- A labeled capture antibody is required for the assay set-up

- A competitor is necessary

- A SARS-COV-2 protein is immobilized in the test

- Human antibodies towards SARS-COV-2 proteins are detected here

Solution: c, d

Question 2: Which statements are correct if anyone is asking how a SARS-COV-2 rapid antigen test does work? Note: the assay principle is a sandwich immunoassay (MC)

- The virus is detected in a polymerase chain reaction

- The capture antibody bind to a corona virus protein (Nucleocapsid N)

- Only one antibody is required to set up such a test

- In a sandwich immunoassay set-up, the sandwich complex typically consists of capture antibody, antigen and detection antibody

Solution: b, d

Zeck - Mass Spectrometry

Question 1: Indicate the true statements for the applications of masss spectrometry in research, clinics and medicals devices (MC)

- The MALDI Biotyper identifies bacteria, yeast, or fungi using the polymerase chain reaction technology

- Mass Spectrometry is for research use only. It cannot be classified as “Medical Device”

- Mass Spectrometry is used to identify unknown compounds within a sample and to elucidate the structure and chemical properties of different molecules

- To approve a mass spectrometry-based analytical method as medical device for healthcare applications one needs to define the analyte to be measured, the biological matrix, the intended human population and the indication for use

- Mass Spectrometry cannot be used for analyte quantification because the ionization properties of different molecules are very different

Solution: a, d, e??

Question 2: For each parameter, mark the better of the two ionization methods for biomolecules (MALDI or ESI, we had to make a cross in a table)

- High throughput capacity (MALDI)

- Quantification possible with standard dilution samples (MALDI?)

- Easy to operate

- Easy to couple with separation methods (ESI)

- Easy to reanalyze samples (MALDI)

- Multiple charges observed on the ions (ESI)

Question 3: Tick which mass analyzer shows the following characteristics (Quadrupole, TOF, Orbitrap, we had to make crosses in a table)

- A whole mass range analyzed at once (TOF)

- Fragmentation possible (Quadrupole)

- High mass resolution (Orbitrap)

- Mass accuracy (Orbitrap)

- Ability to focus an ion beam (Quadrupole)

Question 4: An ESI mass spectrum shows the following peaks. Indicate the true statements (MC)

- The mass spectrum displays the m/z values of seven different peptides

- The molecule species with the m/z 561.26 contain one deuterium atom (2H)

- The charge is z=4

- The monoisotopic m/z value is 561.06

- The mass of the peptide is > 2500 Da

Solution: d, e

->was a mass spectrum of a small protein (peaks ~ 560) similar to the one of the lecture. Distance between adjacent peaks was 0.2. First peak was at 561.06 Da.

Avci-Adali - XNAs

Question 1: What are aptamers? (SC)

- Long ssDNA molecules

- Long dsDNA molecules

- Small proteins

- Short ssDNA molecules

- Short dsDNA molecules

Solution: d

Question 2: Which component is required to produce synthetic mRNA? (SC)

- Ligase

- T7 RNA polymerase

- Lambda exonuclease

- Amino acids

- Cells

Solution: b

Question 3: What is the result of activating the RNAi pathway in cells? (MC)

- Increased expression of target proteins

- Increased replication of DNA

- Down-regulation of target protein synthesis

- Degradation of target mRNA

- Increased production of amino acids

Solution: c, d

Gauglitz - Biosignaling, Bioanalytical Approaches

Question 1: Explain the term dispersion and explain differences between Prism and grating monochromator (Wavelength dispersion, sequence of wavelengths, principle of wavelength selection) (FT)

Question 2: Explain the terms Interference, Coherence, Refraction, Polarization (FT)

Question 3: Explain the differences between a physical and a chemical/ biochemical sensor and name the essential components of this chemical sensor (FT)

Question 4: Explain the homogeneous and heterogeneous phase (FT)

Question 5: Explain the principle of a chip lateral flow assay (draw, name components and explain) (FT)

Question 6: Name the characteristics of a POCT. What are the differences to a test in the clinical lab? (FT)

Metabolomics

Question 1: Which statement is wrong? (SC)

- endogeneous

Solution: a

Question 2: Which statement is wrong? (SC)

- The cytokine storm is the desired answer of the immune system when being infected with COVID-19

- Metabolomics is a good method to investigate metabolism pathways.

- PBMCs are blood cells…

Solution: a